| key | intent | Description |
| --- | --- | --- |
| gateway_sts | gateway status/SYSTEM STATUS |  |
| gateway.powerStatus | POWER STATUS |  |
| gateway.systemStatus | Health Status |  |
| system_status.statusbox_mains_on | MAINS STATUS/Power Supply Status |  |
| statusbox_network | Network /Network Status | if statusbox_network exists if not empty Status = On Operator = Network Name else Status = Off Operator = "-" |
| statusbox_network /system_status.statusbox_network | Operator /Network Operator |  |
| statusbox_sos_status | SOS Status |  |
| System_status.statusbox_no_of_connected_device / statusbox_no_of_connected_device | Devices Connected /Connected Devices |  |
| Statusbox_battery_reverse && statusbox_battery_low | Battery Status | if Battery Low and Battery Reverse Status = Low & Reverse else if Battery Reverse Status = Reverse else if Battery Low Status = Low else Status = OK |
| battery_voltage | Battery Voltage Status |  |
| system_current | Current Status/System Current Status |  |
| ac_voltage | AC Voltage Status |  |
| cctv.powerStatus | CCTV Status / CCTV Power Status |  |
| cctv.healthStatus | Camera Status |  |
| systemStatus | Camera Link Status | if valid systemStatus if Normal / Online / Active Status = Online else Status = Offline else Status = N/A |
| hddStatus | HDD Status |  |
| cctv_sts | cctv status/cctv heart beat |  |
| cctv_sts | Cctv system status |  |
| const hddInfo = data["rock.HddINFO"]; let totalCapacity = 0; for (const hdd of hddInfo) { totalCapacity += parseFloat(hdd.HDDCapacity); } console.log(totalCapacity); | Cctv storage status |  |
| const count = rock.VIDEOdETAILS.length; console.log(count); | Total Camera |  |
| rock.HddINFO.forEach(hdd => { console.log( hdd.HDDSlot, hdd.HDDStatus, hdd.HDDCapacity, hdd.HDDFreeSpace ); }); | HDD Information |  |
| rock.Time Rock.dexter_date rock.syncTimeDate rock.deviceType Rock.manufacturer Rock.model rock.serialNumber rock.firmwareVersion rock.mfDate | Cctv about device |  |
| rock.Time | System Time |  |
| rock.dexter_date | System Date |  |
| rock.syncTimeDate | Last Sync. Date & Time |  |
| rock.deviceType | Device Type |  |
| rock.manufacturer | Device Make /manufacturar |  |
| rock.model | Device Model |  |
| rock.serialNumber | Device Serial Number / Serial Number |  |
| rock.firmwareVersion | Firmware Version |  |
| rock.mfDate | MF Date /Manufacturar date |  |
| rock.CAMERAdETAILS.forEach(camera => { console.log( `${camera.channel_no} ¦ ${camera["Channel Name"]} ¦ ${camera.manufacturer} ¦ ${camera.model} ¦ ${camera.serialNumber} ¦ ${camera.resolution} ¦ ${camera.fps} ¦ ${camera["IP Address"]} ¦ ${camera.status} ¦ ${camera.TotalBytes}` ); }); | ## Camera Information |  |
| rock.VIDEOdETAILS.forEach((camera, index) => { console.log( `${index + 1} ¦ ${camera.cameraName} ¦ ${camera.cameraIP} ¦ ${camera.start_time} ¦ ${camera.end_time} ¦ ${camera.total_duration} days` ); }); | ## NVR Recording Information/ Recording information |  |
| rock.SdRecINFO.forEach((camera) => { console.log( `${camera.channel_no} ¦ ${camera.channel_name} ¦ ${camera.cameraIP} ¦ ${camera.start_time} ¦ ${camera.end_time} ¦ ${camera.total_recording_days} days` ); }); | ## SD Recording Information |  |
| cameraTamperCount | ## Cctv camera tamper count |  |
| cameraDisconnectCount | ## Cctv camera disconnect count |  |
| let errorCount = 0; rock.HddINFO.forEach(hdd => { if (hdd.HDDStatus.toLowerCase() === "error") { errorCount++; } }); console.log(errorCount); | ## Cctv hdd error count |  |
| ias.powerStatus | ## Ias power status/integrated alarm system power status |  |
| ias.systemStatus | ## Ias system status |  |
| ias.healthStatus | ## Ias health status |  |
| bas.powerStatus | ## Bas power status/Barglar Alarm System power Status |  |
| bas_sts | ## Bas system status |  |
| bas.healthStatus | ## Bas health status |  |
| basSystemIntegration.heartbeat | ## Bas heartbeat |  |
| basSystemIntegration.panelState | ## Bas panel state |  |
| basSystemIntegration.panelMode | ## Bas panel mode |  |
| basSystemIntegration.zoneInfo.forEach((zone, index) => { console.log( `${index + 1} ¦ ${zone.zoneName} ¦ ${zone.areaStates} ¦ ${zone.bell} ¦ ${zone.zoneEvent} ¦ ${zone.timeStamp}` ); }); | ## Bas zone information |  |
| basSystemIntegration.basAboutDevice.panelIp | ## Bas about device panel ip |  |
| basSystemIntegration.basAboutDevice.model | ## Bas about device model |  |
| basSystemIntegration.basAboutDevice.firmwareVersion | ## Bas Firmware Version |  |
| basSystemIntegration.basAboutDevice.lastUpdated | ## Bas Last Updated |  |
| basSystemIntegration.basPowerStatus.systemVoltage | ## Bas Power Status ## System voltage |  |
| basSystemIntegration.basPowerStatus.batteryVoltage | ## Bas batteryVoltage |  |
| basSystemIntegration.basPowerStatus.systemCurrent | ## Bas systemCurrent |  |
| basSystemIntegration.basPowerStatus.batteryCurrent | ## Bas batteryCurrent |  |
| basSystemIntegration.basPowerStatus.batteryStatus | ## Bas batteryStatus |  |
| basSystemIntegration.basPowerStatus.mainStatus | ## Bas mainStatus |  |
| fas.powerStatus | ## Fas power status |  |
| fas_sts | ## Fas system status |  |
| fas.healthStatus | ## Fas health status |  |
| timeLock.powerStatus | ## Tls power status/Time Lock power status |  |
| timeLock_sts | ## Tls system status |  |
| timeLockDoor | ## Tls DOOR STATUS |  |
| timeLockHealth | ## Tls health status |  |
| accessControl.powerStatus | ## Acs power status/access control power status |  |
| accessControl_sts | ## Acs system status |  |
| accessControlDoor | ## Acs door status |  |
| accessControlHealth | ## Acs health status |  |
| accessControl.systemStatus | ## Acs system status |  |